## S16_A_C3
Method name: Enzyme Activity Assays
Application: SparkControl |  |  |  | V3.1 SP1
Device: Spark |  |  |  | Serial number: 2201002277
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.3.3¦FLUOR:V5.1.4¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦PODI:V1.12.5
Date: |  |  |  | 2022-06-08
Time: |  |  |  | 14:42
System |  |  |  | OEKOL-075214
User |  |  |  | OEKOL-075214\Administrator
Plate |  |  |  | [LUM96fb_Lumox] - Greiner 96 Flat Black Cat. No.: 96000024/96120096
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Shaking
| Fluorescence Top Reading |  |  |  |  | MUF
| Fluorescence Top Reading |  |  |  |  | AMC
| Absorbance |  |  |  |  | L-DOPA
Move plate
Name |  |  |  | LUM96fb_Lumox
Plate layout
Plate area |  |  |  | A1-H12
Start Time |  |  |  | 2022-06-08 14:38:35
Shaking (Double Orbital) Duration [s] |  |  |  | 5
Shaking (Double Orbital) Position |  |  |  | Current
Shaking (Double Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Double Orbital) Frequency [rpm] |  |  |  | 270
End Time |  |  |  | 2022-06-08 14:38:40
Mode | Fluorescence Top Reading
Name | MUF
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 365
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 455
Emission bandwidth [nm] |  |  |  | 20
Gain Optimal |  |  |  | 48
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0 | [14 empty] | Glu jove method
Settle time [ms] |  |  |  | 0 | [14 empty] | mean_slurry | 45.3333 | Glu | rep1 | rep2 | rep3 | rep4 | rep5
Z-Position [μm] |  |  |  | 20000 | [14 empty] | Mean Sample | 25742 | mean_slurry | 47.6667
Z-Position mode |  |  |  | Manual | [13 empty] | Median Quench |  | 594.5 | Q factor | 0.24265
Part of Plate |  |  |  | A1-H12 | [13 empty] | Fluor per mole (per uM) |  | 89.0372 | Q corr | 12180.5787 | 12578.0405 | 11490.2375 | 12036.2015 | 12586.5332
[18 empty] | Quench per mole |  | 6.739 | abiotic corr | 12114.912 | 12512.3738 | 11424.5708 | 11970.5348 | 12520.8666
Start Time |  |  |  | 2022-06-08 14:38:40 | [13 empty] | Time (min) |  | 90 | conc uM | 141.4572 | 145.9883 | 133.5873 | 139.8113 | 146.0851
Temperature [°C] |  |  |  | 25.2 | [13 empty] | Sample volume in black plate (mL) |  | 0.12 | Xyl | rep1 | rep2 | rep3 | rep4 | rep5
[18 empty] | Glu (uM/min) |  | 3.965 | mean_slurry | 60.6667
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | [6 empty] | Glu (um) | 356.8525 | Q factor | 0.23595
A | 44 | 50 | 49 | 50198 | 51836 | 47353 | 49603 | 51871 | 14966 | 36992 | 560 | 18 | Selins MUF Curve | [7 empty] | Q corr | 1379.8349 | 1496.1582 | 1264.4554 | 1435.5191 | 1354.3524
B | 45 | 45 | 46 | 26808 | 27157 | 24759 | 26018 | 23968 | 4093 | 20818 | 127 | 671 | Fluorsence | uM dilution | a | b |  |  | Mean Sample | 2113.8 | abiotic corr | 1301.1683 | 1417.4916 | 1185.7888 | 1356.8524 | 1275.6857
C | 64 | 59 | 59 | 5848 | 6341 | 5359 | 6084 | 5740 | 372 | 5346 | 631 | 18 | 14966 | 100 | 0.0114 | 3.3472 | 50um | XYL (uM/min) |  | 0.31683 | conc uM | 18.1805 | 19.5066 | 16.8652 | 18.8153 | 17.89
D | 45 | 48 | 46 | 2007 | 2118 | 2053 | 2248 | 2143 | 176 | 2403 | 585 | 23 | 4093 | 50 | 0.0271 | 0.0093 | 10um |  | Glu (um) | 28.5147 | NAG | rep1 | rep2 | rep3 | rep4 | rep5
E | 45 | 48 | 46 | 44860 | 43953 | 44275 | 47400 | 41813 | 90 | 1079 | 604 | 32 | 372 | 10 | 0.0296 | -1.9626 | 5um |  |  |  | mean_slurry | 46.3333
F | 49 | 47 | 48 | 4710 | 4903 | 4600 | 4802 | 4638 | 24 | 220 | 1455 | 57 | 176 | 5 | [6 empty] | Q factor | 0.23
G | 16 | 15 | 15 | 15 | 15 | 15 | 15 | 13 | 17 | 117 | 16 | 11 | 90 | 2.5 | [6 empty] | Q corr | 461.6136 | 487.1438 | 472.1937 | 517.044 | 492.8938
H | 7 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 13 | 36 | 6 | 7 | 24 | 0.5 | [6 empty] | abiotic corr | 392.2803 | 417.8105 | 402.8603 | 447.7107 | 423.5605
[13 empty] | 17 | 0.25 | [6 empty] | conc uM | 7.8192 | 8.1102 | 7.9398 | 8.4511 | 8.1758
[13 empty] | 13 | 0.1 | [6 empty] | Pho | rep1 | rep2 | rep3 | rep4 | rep5
End Time |  |  |  | 2022-06-08 14:40:11 | [8 empty] | 0 | 0 | [6 empty] | mean_slurry | 46.3333
[14 empty] | um | Fluor | Fluor per mole |  |  |  |  | Q factor | 0.22277
Mode | Fluorescence Top Reading | [12 empty] | 1.2 | 106.8446 | 89.0372 |  |  |  |  | Q corr | 9993.3111 | 9791.2618 | 9862.9926 | 10559.1383 | 9314.5412
Name | AMC | [12 empty] | 2.5 | 150.7635 | 60.3054 |  |  |  |  | abiotic corr | 9914.9778 | 9712.9284 | 9784.6593 | 10480.805 | 9236.2078
Excitation |  |  |  | Monochromator | [8 empty] | 2.4 | 2.4 | 88.2177 | 36.7574 |  |  |  |  | conc uM | 116.3779 | 114.0746 | 114.8923 | 122.8284 | 108.64
Excitation wavelength [nm] |  |  |  | 364 | [8 empty] | 6.4 | 6.4 | 282.5203 | [5 empty] | Cbh | rep1 | rep2 | rep3 | rep4 | rep5
Excitation bandwidth [nm] |  |  |  | 20 | [9 empty] | 14.7472 | 1000 | * concentration if not enhanced by glycine |  |  |  |  | mean_slurry | 48
Emission |  |  |  | Monochromator | [16 empty] | Q factor | 0.22716
Emission wavelength [nm] |  |  |  | 445 | [16 empty] | Q corr | 1069.9316 | 1113.7738 | 1044.9438 | 1090.8305 | 1053.576
Emission bandwidth [nm] |  |  |  | 20 | [16 empty] | abiotic corr | 964.9316 | 1008.7738 | 939.9438 | 985.8305 | 948.576
Gain Optimal |  |  |  | 48 | [16 empty] | conc uM | 14.3474 | 14.8472 | 14.0626 | 14.5857 | 14.161
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40 | [16 empty] | Pep | rep1 | rep2 | rep3 | rep4 | rep5
Lag time [µs] |  |  |  | 0 | [16 empty] | mean_slurry | 39.3333
Settle time [ms] |  |  |  | 0 | [16 empty] | Q factor | 1.0075
Z-Position [μm] |  |  |  | 20000 | [16 empty] | Q corr | 28496.1947 | 28619.1056 | 26799.6208 | 27727.4976 | 25357.936
Z-Position mode |  |  |  | Manual | [16 empty] | abiotic corr | 27287.8613 | 27410.7723 | 25591.2875 | 26519.1643 | 24149.6027
Part of Plate |  |  |  | A1-H12 | [16 empty] | conc uM | 59.5292 | 59.7996 | 55.7967 | 57.8381 | 52.625
Start Time |  |  |  | 2022-06-08 14:40:13
Temperature [°C] |  |  |  | 25.3
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Selins AMC Curve
A | 38 | 44 | 41 | 47412 | 49608 | 46433 | 47340 | 48105 | 15157 | 39386 | 524 | 25 | Fluorsence | uM dilution | a | b
B | 39 | 39 | 40 | 28285 | 28407 | 26601 | 27522 | 25170 | 4524 | 22478 | 125 | 1169 | 39386 | 100 | 0.0022 | -0.5041 | 50um
C | 57 | 53 | 53 | 5480 | 5893 | 4929 | 5662 | 5225 | 413 | 5586 | 575 | 24 | 22478 | 50 | 0.0017 | 0.3933 | 10um
D | 38 | 40 | 38 | 1859 | 1958 | 1889 | 2047 | 1973 | 189 | 2471 | 540 | 32 | 5586 | 10 | 0.002 | 0.0668 | 5um
E | 39 | 40 | 39 | 41580 | 40722 | 41355 | 43964 | 38208 | 98 | 1117 | 543 | 35 | 2471 | 5
F | 42 | 40 | 41 | 4361 | 4535 | 4208 | 4425 | 4288 | 26 | 233 | 1339 | 78 | 1117 | 2.5
G | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 13 | 18 | 121 | 16 | 12 | 233 | 0.5
H | 8 | 7 | 7 | 7 | 7 | 7 | 7 | 6 | 14 | 37 | 7 | 7 | 121 | 0.25
[13 empty] | 37 | 0.1
[13 empty] | 0 | 0
End Time |  |  |  | 2022-06-08 14:41:43 | [9 empty] | um | Fluor | Fluor per mole
[14 empty] | 1.2 | 566.6 | 472.1667
Mode | Absorbance | [12 empty] | 2.5 | 1216.6 | 486.64
Name | L-DOPA | [12 empty] | 0.24 | 86.6 | 360.8333
Measurement wavelength [nm] |  |  |  | 460
Number of flashes |  |  |  | 10
Settle time [ms] |  |  |  | 50
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2022-06-08 14:41:46
Temperature [°C] |  |  |  | 25.4
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | [8 empty] | L-DOPA | rep1 | rep2 | rep3 | rep4 | rep5
A | 0.0683 | 0.0656 | 0.1524 | 0.0778 | 0.073 | 0.0633 | 0.0633 | 0.0664 | 0.05 | 0.056 | 0.1956 | 0.0579 | [8 empty] | mean_slurry | 0.07865
B | 0.069 | 0.063 | 0.0676 | 0.062 | 0.0666 | 0.0751 | 0.0641 | 0.0672 | 0.0543 | 0.0472 | 0.0718 | 0.0493 | [8 empty] | conc uM | -0.0090663 | -0.011777 | 0.00039157 | -0.0017169 | 0.039307
C | 0.0699 | 0.0705 | 0.0669 | 0.0607 | 0.062 | 0.0685 | 0.0599 | 0.0625 | 0.0472 | 0.0471 | 0.0618 | 0.0485
D | 0.0931 | 0.077 | 0.083 | 0.0623 | 0.0635 | 0.0589 | 0.0791 | 0.0702 | 0.0485 | 0.0518 | 0.0606 | 0.0467
E | 0.0687 | 0.0832 | 0.0635 | 0.0606 | 0.0594 | 0.0683 | 0.0619 | 0.063 | 0.0547 | 0.0514 | 0.0598 | 0.0461
F | 0.0676 | 0.1854 | 0.0637 | 0.0605 | 0.0591 | 0.0676 | 0.0629 | 0.0846 | 0.0474 | 0.0496 | 0.0621 | 0.0481
G | 0.2001 | 0.0795 | 0.0778 | 0.0636 | 0.0591 | 0.0793 | 0.0758 | 0.1439 | 0.061 | 0.0488 | 0.1319 | 0.0594
H | 0.0603 | 0.0589 | 0.0613 | 0.0592 | 0.0603 | 0.0585 | 0.0607 | 0.059 | 0.0491 | 0.0488 | 0.0639 | 0.0609
End Time |  |  |  | 2022-06-08 14:42:09
Start Time |  |  |  | 2022-06-08 14:42:12
Movement |  |  |  | Out
End Time |  |  |  | 2022-06-08 14:42:19